Rural Health Clinic Compliance Checklist for Facility Walk-through Tour

Facility Name: 						Date: 				Start time: 			End Time:

| Tag | Location within Facility | Yes | No | Notes |
| --- | --- | --- | --- | --- |
|  | Parking Lot |  |  |  |
|  | Handicapped parking spaces available |  |  |  |
|  | Entrance/Lobby |  |  |  |
|  | Clean and orderly |  |  |  |
|  | Toys – Daily Cleaning |  |  |  |
|  | Exit signs clearly marked @ each exit |  |  |  |
|  | Business hours posted for public |  |  |  |
|  | Patient Exam Rooms |  |  |  |
|  | Do not contain hazardous materials (Cleaner, paint, drug samples |  |  |  |
|  | Nothing is kept under sinks |  |  |  |
|  | PPE available |  |  |  |
|  | Latex-free patient care supplies |  |  |  |
|  | Sharps containers/Not overflowing |  |  |  |
|  | Exam lights covered by screens to prevent injury form burns or shattering |  |  |  |
|  | Patient Bathroom |  |  |  |
|  | Handicapped accessible |  |  |  |
|  | Ways to contact for assistance |  |  |  |
|  | Clean |  |  |  |
|  | Laboratory Services |  |  |  |
|  | CLIA license posted |  |  |  |
|  | Fridge and freezer temp recorded daily |  |  |  |
|  | Food is not stored in fridge used for samples and injectables |  |  |  |
|  | Lab Equipment Calibrated Who When |  |  |  |
|  | 6 Lab tests to be performed on-site: Urine dip Hemoglobin/Hematocrit Blood glucose Occult blood Pregnancy Primary culturing for transmittal to certified lab |  |  |  |
|  | X-Ray |  |  |  |
|  | State check and current certificate available |  |  |  |
|  | Sterilizers |  |  |  |
|  | Plumbed with back flow prevention device (Chapter 246-290 Group A Water Systems 1999 |  |  |  |
|  | Spore Testing (ATTEST) Controlled testing according to policy and use) |  |  |  |
|  | Medication Areas |  |  |  |
|  | Narcotic Management system Controlled substances are doubled-locked, and all transactions are recorded |  |  |  |
|  | Drug deliveries |  |  |  |
|  | Expiration Dates-no expired meds present |  |  |  |
|  | Multi-dose use vials |  |  |  |
|  | Fridge and freezer temps recorded |  |  |  |
|  | No food stored in fridge or freezer used for storing medications |  |  |  |
|  | Drug samples are reviewed and documented at least monthly for expired drugs |  |  |  |
|  | Drug samples are stored in a secured area without patient access |  |  |  |
|  | Emergencies |  |  |  |
|  | Drugs are maintained to respond to emergencies |  |  |  |
|  | Emergency drugs are reviewed monthly to ensure nothing is expired and all required emergency drugs available |  |  |  |
|  | Emergency Medications: Analgesics, anesthetics, antibiotics, anticonvulsants, antidotes, emetics, serum and toxoids |  |  |  |
|  | Crash cart with oxygen/ambu bags |  |  |  |
|  | AED available and staff trained |  |  |  |
|  | Oxygen |  |  |  |
|  | All oxygen tanks are secured |  |  |  |
|  | Bio-Medical Equipment |  |  |  |
|  | Inspection Dates and logs. PM stickers attached |  |  |  |
|  | Preventative Maintenance Contracts with who and how often |  |  |  |
|  | Building Maintenance |  |  |  |
|  | Logs of maintenance activity are maintained for daily, weekly, monthly, quarterly and annual maintenance activities. |  |  |  |
|  | Overall |  |  |  |
|  | The clinic is clean and no clutter |  |  |  |
|  | Electrical sockets are covered when not used |  |  |  |
|  | Non-Medical Emergencies |  |  |  |
|  | Ask 2 staff how to handle a non-medical emergency |  |  |  |
|  | Staff Schedules |  |  |  |
|  | Mid-level Practitioner for 50% of time clinic is open (NP/PA) |  |  |  |
|  | Physician minimum of every two weeks |  |  |  |
|  | Health Care Assistants |  |  |  |
|  | MA cannot administer or count narcotics |  |  |  |
|  | Personnel Records |  |  |  |
|  | Professional licenses are updated and maintained in personnel file |  |  |  |
|  | CPR Training is updated and maintained for the required personnel |  |  |  |
|  | Medical Director is licensed as physician in the state and is on-site at least once every two weeks |  |  |  |
|  | Job descriptions for MD and Mid-level practitioners |  |  |  |
|  | Medical Records |  |  |  |
|  | Records stored in secured area where public/patient has no access |  |  |  |
|  | Paper or Electronic health records |  |  |  |
|  | Protective computer screens |  |  |  |
|  | Random 10% used check-off form |  |  |  |
|  | Emergency Preparedness |  |  |  |
|  | Exit signs are clearly marked at each exit |  |  |  |
|  | Exam rooms contain diagrams indicating emergency exit routes |  |  |  |
|  | Fire extinguisher checked monthly by staff and annually by a fire professional |  |  |  |
|  | Fire Department conducts an annual inspection |  |  |  |
|  | Fire drills are conducted at least annually or according to facility p/p |  |  |  |